{"text_format":"2","workbook":"xls","n_sheets":5,"sheets":["deleni svazku","n(lambda) -rtut","vodík","dn ku dl sodik","List1"],"not_rendered":{"charts":1,"images":0,"macros":0,"external_links":1,"defined_names":13,"comments":4,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"deleni svazku","index":0,"n_rows":14,"n_cols":27,"rows_kept":14,"cut":false,"hidden":false,"merged":[[2,2,2,4],[2,6,2,8],[13,6,13,8]],"flags":["formulas_cached_only"]}
[]
[]
[null,null,"d_1",null,null,null,"d_2"]
[null,null,"st.","min.","sec.",null,"st.","min.","sec.",null,"fi","st.","min.","sec."]
[null,null,245,47,20,245.7888888888889,126,3,52,126.06444444444445,59.86222222222222,59,51,44,{"$nulls":4},245,47,20,126,3,52,59,51,44]
[null,null,253,53,56,253.89888888888888,134,12,40,134.2111111111111,59.843888888888884,59,50,38,{"$nulls":4},253,53,56,134,12,40,59,50,38]
[null,null,264,40,40,264.6777777777778,144,56,49,144.94694444444445,59.865416666666675,59,51,56,{"$nulls":4},264,40,40,144,56,49,59,51,56]
[null,null,258,37,54,258.63166666666666,138,54,12,138.90333333333334,59.86416666666666,59,51,51,{"$nulls":4},258,37,54,138,54,12,59,51,51]
[null,null,267,1,47,267.02972222222223,147,17,18,147.28833333333333,59.87069444444445,59,52,15,{"$nulls":4},267,1,47,147,17,18,59,52,15]
[{"$nulls":9},"průměr",59.861041666666665,59,51,40]
[{"$nulls":9},"chyba",0.005889964306070188,0,0,21,"ca 2s"]
[]
[]
[null,"velikost základny hranolu = "]

{"sheet":"n(lambda) -rtut","index":1,"n_rows":31,"n_cols":24,"rows_kept":31,"cut":false,"hidden":false,"merged":[[3,3,3,5],[3,7,3,9],[3,11,3,14],[3,21,3,22],[7,1,9,1],[10,1,11,1],[13,1,14,1]],"flags":["formulas_cached_only"]}
[{"$nulls":6},"asi 248"]
[]
[]
[null,null,null,"d_1 deviace vlevo",null,null,null,"d_2 deviace vpravo",null,null,null,"epsilon_0",null,null,null,"chyba",null,"lambda","n","chyba n"]
[null,null,"barva","st.","min.","sec.",null,"st.","min.","sec.",null,null,"st.","min.","sec.","sec.",null,"TABULKY",{"$nulls":5},185.86098379629627]
[null,null,"červená-krajni",247,3,20,247.05555555555557,124,40,18,124.67166666666667,61.19194444444445,61,11,31,4.914314730273283,0.0033333333333587234,690.752,1.7448326392928355,1.1747216688339223e-05,61.18763889,-0.0043055544444499105,697.2177114335445,185.8636111111111]
[null,null,"červená-slaba",247,14,26,247.24055555555555,124,29,0,124.48333333333333,61.378611111111105,61,22,43,2.1852892869976324,0,671.643,1.7464366776769729,5.208669401734454e-06,61.38069444,0.002083328888893732,676.4303508129426,185.86194444444445]
[null,"trojice","červená",247,48,38,247.81055555555557,123,54,48,123.91333333333334,61.94861111111111,61,56,55,2.1852892869976324,0.0002777777777538404,623.44,1.751306024314833,5.1625870330323924e-06,61.95027778,0.001666668888887557,623.7002890110357,185.86194444444445]
[null,null,"červená",247,56,6,247.935,123,47,21,123.78916666666666,62.07291666666667,62,4,23,2.388005988495924,0.0030555555555622504,614.95,1.7523621799119904,5.630490030112368e-06,62.09972222,0.02680555333332535,613.939273842122,185.86208333333332]
[null,null,"oranžová",248,2,11,248.0363888888889,123,41,27,123.69083333333333,62.17277777777778,62,10,22,4.914314730273283,0.0005555555555503133,607.272,1.7532091509603736,1.1568876970125491e-05,62.17069444,-0.002083337777783356,606.4724187586935,185.8636111111111]
[null,"dvojice","žlutá",248,29,8,248.48555555555555,123,14,32,123.24222222222222,62.62166666666666,62,37,18,5.397189633014435,0.009722222222194432,579.0663,1.7569999443342932,1.2615671251335949e-05,62.62361111,0.0019444433333362099,576.4917369255891,185.86388888888888]
[null,null,"žlutá",248,31,25,248.52361111111114,123,11,40,123.19444444444444,62.66458333333335,62,39,53,3.7658650091629324,0.007499999999964757,576.95982,1.7573609574248905,8.796520805949687e-06,62.65805556,-0.006527773333345976,573.8974677463307,185.85902777777778]
[null,null,"zelená",249,6,52,249.11444444444444,122,36,40,122.6111111111111,63.25166666666667,63,15,6,3.494708752961809,0.004166666666677088,546.07348,1.7622747053971937,8.086760071423017e-06,63.25319444,0.0015277733333292076,542.2863320027739,185.86277777777778]
[null,null,"zelenomodrá",250,8,21,250.13916666666665,121,34,56,121.58222222222221,64.27847222222222,64,16,42,1.4341336296208151,0.006944444444414444,501.7279,1.770757548555573,3.2635579986584786e-06,64.52125,0.24277777777777487,500.1415381572025,185.86069444444445]
[null,null,"zelenomodrá",250,11,35,250.19305555555556,121,31,17,121.5213888888889,64.33583333333334,64,20,9,6.901424196040681,0.0013888888889113105,498.064,1.7712272443513295,1.5690259465090215e-05,64.65583333,0.31999999666665246,498.1602805994174,185.85722222222222]
["(tři vedle sebe)","velmi silná","fialová",250,23,21,250.38916666666665,121,19,26,121.32388888888889,64.53263888888888,64,31,57,8.131373762570435,0.0038888888889232476,491.607,1.7728353928799945,1.842653882545738e-05,66.92916667,2.396527781111118,491.6082502325048,185.85652777777779]
[null,null,"fialová",250,31,55,250.53194444444446,121,11,6,121.185,64.67347222222223,64,40,25,4.714170757775419,null,485.572,1.7739829684449648,1.0657894875681545e-05,68.62736111,3.953888887777765,487.140348590965,185.85847222222225]
[null,null,"fialová",{"$nulls":12},50.42607976418428,0.040833333333310406,410.174,null,null,68.8475,null,null,0.0007423419536161183]
[]
[{"$nulls":21},"chyba"]
[{"$nulls":18},"n_n",null,1.7119281,0.0003,1.7096]
[{"$nulls":18},"C",null,14.715244,0.91328,15.908]
[{"$nulls":18},"lambda_n",null,250.00756,1.79,240.94]
[{"$nulls":20},0.00012805231722559592]
[]
[]
[{"$nulls":21},0.3336284201908944,0.1947895509807996]
[{"$nulls":21},0.8789440458769785,0.40054477038993874]
[{"$nulls":21},0.4257169302382994]
[{"$nulls":21},0.07148328680334033]
[{"$nulls":21},1.7097726831095126,0.5953343213707383]

{"sheet":"vodík","index":2,"n_rows":13,"n_cols":25,"rows_kept":13,"cut":false,"hidden":false,"merged":[[6,4,6,6],[6,8,6,10],[6,12,6,15],[7,22,7,23]],"flags":["formulas_cached_only"]}
[]
[]
[]
[]
[]
[]
[{"$nulls":4},"d_1 deviace vlevo",null,null,null,"d_2 deviace vpravo",null,null,null,"epsilon_0",null,null,null,"n",null,"lambda ","chyba"]
[null,null,null,"barva","st.","min.",null,null,"st.","min.","sec.",null,null,"st.","min.","sec.",{"$nulls":5},"chyba %","diference"]
[null,null,null,"červená",124,18,5,124.30138888888888,247,24,46,247.4127777777778,61.555694444444455,61,33,21,1.7479540824491655,5.0906769719756815e-05,658.4695365960288,0.03922327687591353,656.28,0.3336284201908944,3.2894444444444417,3.2938888888888584,0.0044444444444167175]
[null,null,null,"azurová",121,0,43,121.01194444444444,250,42,24,250.70666666666665,64.8473611111111,64,50,50,1.7753961991859109,0.00022362521764060712,481.86016294145685,0.05551492951050971,486.133,0.8789440458769785,2.1655555555555566,2.1766666666666765,0.011111111111119953]
[null,null,null,"fialová",118,50,47,118.84638888888888,252,53,0,252.88333333333333,67.01847222222221,67,1,6,1.7926960481562162,0.0002302549037567562,432.1991884358086,0.03529643051376676,434.047,0.4257169302382994,1.4324999999999903,1.488333333333344,0.05583333333335361]
[null,null,"slabá","fialová",117,24,50,117.41388888888889,254,22,18,254.37166666666667,68.47888888888889,68,28,44,1.803971299594127,0.00023466806713529913,409.88079414318725,0.02769941403695986,410.174,0.07148328680334033]
[{"$nulls":11},"chyba",0.00594907407407419,0,0,21]

{"sheet":"dn ku dl sodik","index":3,"n_rows":10,"n_cols":20,"rows_kept":10,"cut":false,"hidden":false,"merged":[[5,4,5,6],[5,8,5,10]],"flags":["formulas_cached_only"]}
[]
[]
[]
[null,null,null,"měřit každou stranu pro jediné epsilon"]
[]
[{"$nulls":4},"d_1 deviace vlevo",null,null,null,"d_2 deviace vpravo",null,null,null,"epsilon_0",null,null,null,"n","lambda ",null,"Rozdíl %"]
[null,null,null,"barva","st.","min.","sec.",null,"st.","min.","sec.",null,null,"st.","min.","sec."]
[null,null,null,"žlutá",123,24,30,123.40833333333335,248,18,20,248.30555555555557,62.44861111111111,62,26,55,1.7554849255186549,587.8476992842006,588.995,0.1947895509807996]
[null,null,null,"žlutá 2",123,23,45,123.39583333333334,248,18,43,248.31194444444446,62.45805555555556,62,27,29,1.7555646038002943,587.2308184751835,589.5924,0.40054477038993874]
[{"$nulls":11},"chyba",0,0,0,0,"delta",-0.6168808090171751,0.5973999999999933]

{"sheet":"List1","index":4,"n_rows":12,"n_cols":8,"rows_kept":12,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
[247,3,20,124,40,18,1.7448326392928355,690.752]
[247,14,26,124,29,0,1.7464366776769729,671.643]
[247,48,38,123,54,48,1.751306024314833,623.44]
[247,58,6,123,45,21,1.752645044257061,614.95]
[248,2,11,123,41,27,1.7532091509603736,607.272]
[248,29,8,123,14,32,1.7569999443342932,579.0663]
[248,31,25,123,11,40,1.7573609574248905,576.95982]
[249,6,52,122,36,40,1.7622747053971937,546.07348]
[250,8,21,121,34,56,1.770757548555573,497.037]
[250,11,35,121,31,17,1.7712272443513295,498.064]
[250,23,21,121,19,26,1.7728353928799945,491.607]
[250,31,55,121,11,6,1.7739829684449648,485.572]